Special Problem 7

ChE 436

For the Heat Exchanger process, consider a case where the design or expected operating exit temperature is 140C but may range from 132C to 148C.  The disturbance flow rate is expected to remain steady at about 10 lit/min.

a) Perform the necessary open loop dynamic modeling studies to determine a first order plus dead time (FOPDT) model which describes process operation near the design operation conditions.  Report values of dynamic constants.

b) Using the Kp, p, and p from part a, compute the tuning parameters for a PID controller (w/derivative on measurement) from the IMC tuning correlations in the Control Station software (also found in the appendix).  Report tuning constants.

c) Using your KC, 1, and D  from part b , implement a PID controller with anti-reset windup and derivative on measurement.  Turn in plot of controller response to a setpoint change from 140C to 148C.

d) Determine a “best” tuning by adjusting KC (leave 1 and D  as determined by the IMC algorithm) by trial and error until the controller displays a 10% to 15% overshoot in response to set point steps from 140C up to 148C and plot this set point step response.  Turn in plot and value of KC.

e) Run three more tuning cases and plot the response of each to steps in set point form 140C up to 148C.  For each, use your best KC and 1 from part d , but use 0.5, 2 and 5 times your D  from part d .  Comment on how this tuning parameters impacts controller performance.   Turn in 4 plots on one page, along with comments.